| Report Title | Date | Functionality covered | Summary of results |
| --- | --- | --- | --- |
| Initial Results from Mobile Low-Dose Computerized Tomographic Lung Cancer Screening Unit: Improved Outcomes for Underserved Populations | 26-Nov-2019 | Low dose computed tomography (CT) | - This study shows that a mobile low-dose CT scanning unit allows effective lung cancer screening. - Lung Cancer Screening compared low-dose CT with usual care. - Using low-dose helical CT screening, the National Lung Screening Trial demonstrated a 20% improvement in tumor specific survival and a statistical increase in overall survival comparing to plain chest radiography |

Appraisal:

The clinical data collected from “Initial Results from Mobile Low-Dose Computerized Tomographic Lung Cancer Screening Unit: Improved Outcomes for Underserved Populations” initiated studies referenced below.

Data Sustainability Criteria:

D1: data generated from actual device.

D2: data generated from comparable device.

A1: device used for the same intended use.

P1: data generated from a patient group that is representative of the intended treatment population.

R2: data contain sufficient information (with some deficiencies)

Data contribution criteria:

T1: functionality in question directly mentioned by the study.

O1: outcome measures reported reflect the intended performance / intended use.

F2: no follow-up (not a therapeutic device)

S2: statistical significance (data include quantitative / qualitative statements, but statistical analysis is not always provided)

C1: the functionality in question used for day-to-day service and was clinically significant.