IEC 60601-4-5

- It is currently available as a draft.

- As a member of the IEC 60601 standard family, IEC 60601-4-5 encourages the implementation of safety:

- Basic Safety

- Essential Performance

- Minimum of necessary clinical functionality

- Availability of the medical device

- Security Levels – The central concept of IEC 60601-4-5

The standard works with three types of security level (SL):

- SL-T: The Target Security Level, that one must achieve for the network including the networked medical devices, to achieve the set protection goal.

- SL-C: The Capability Security Level, that can actually achieve for the medical product and the network, if one takes measures to improve IT security.

- SL-A: The Achieved Security Level, the level one actually achieves.

- For each security level, the IEC 60601-4-5 proposes five levels, from SL 0 (nothing implemented) to SL 4, the highest level.

- Naturally, high security levels must be achieved for high risks.

- The security levels help control the requirements of and the expenses of IT security.