ARTICLE 4

| Report Title | Date | Functionality covered | Summary of results | Appraisal |
| --- | --- | --- | --- | --- |
| Mobile Lung Screening: Should We All Get on the Bus? | 14-Jul-2020 | Mobile Lung Screening | - A mobile lung screening program was initiated to serve the rural patients at risk and specialized software was used for data mining. - Performed 548 low-dose lung screenings at 104 sites. - Computed tomography (CT) scanners are a sensitive, complex electrical machine that require climate control and a level environment to operate. - Built a process that utilized a Winnebago specialty vehicle commercial shell and a modified Siemens 16-slice Somatom Scope CT scanner. - The rear cap of the specialty vehicle was removed after production to allow placement of the Somatom Scope CT scanner in the forward section of the bus. - The Somatom Scope CT scanner weighed 4000 lbs., leaving 3500 lbs. for lead shielding, cabinetry, finish work, and gantry supports. - The prototype vehicle, including the Winnebago shell, Freightliner chassis, and CT scanner cost $650,000. | D2 A1 P1 R1 F2 T1 O1 S1 C2 |

REFERENCES

- Headrick J.R, Morin O, Miller A.D, Hill L, Smith J. Mobile Lung Screening: Should We All Get on the Bus?. Multicenter Study- Ann Thorac Surg. 110. 2020. 1147-1152

ARTICLE 7

| Report Title | Date | Functionality covered | Summary of results | Appraisal |
| --- | --- | --- | --- | --- |
| Combination of CT angiography and MRI in surgical planning of deep brain stimulation | 22-Aug-2018 | - Deep brain stimulation. - Computed tomography angiography. - Contrast enhanced MRI. - Intracranial bleeding | - Computed tomography angiography (CTA) detects arteries with high geometric accuracy. - The aim of this study is to investigate if the combination of the ceMRI and the CTA in the planning of DBS operations can depict more blood vessels than one modality alone and if this reduces the bleeding rate when compared to the literature. - A total of 370 vessels were counted. Two hundred forty vessels (65%) were visible in both modalities. - A contrast enhanced MRI (ceMRI) can depict blood vessels, both arteries and veins, but the nonenhanced CT guarantees the high degree of accuracy. - The CTA combines both advantages by using the contrast medium to visualize the blood vessels (especially arteries) and the accuracy of a CT scan. | D1 A2 P1 R2 T2 O1 F2 S2 C1 |

REFERENCES

- Kruger M.T, Coenen V.A, Jenker C, Urbach H, Egger K, Reinacher P.C. Combination of CT angiography and MRI in surgical planning of deep brain stimulation. Neuroradiology. 60(11).2018. 1151-1158

ARTICLE 12

| Report Title | Date | Functionality covered | Summary of results | Appraisal |
| --- | --- | --- | --- | --- |
| Patterns of Hydrocephalus in Rural Haiti: A Computed Tomography -Based Study | 07-Aug-2018 | - Global neurosurgery - Hydrocephalus - Neuroepidemiology | - We analyzed reports from 3614 CT scans of the head performed between July 2013 and January 2016 for findings that were consistent with a diagnosis of hydrocephalus. - Radiologic patterns of hydrocephalus from a large sample of CT scans are analyzed. - CT studies of the head were obtained by local providers at HUM on a 32-slice helical CT scanner (BodyTom; Neurological/Samsung, Danvers, Massachusetts, USA), and stored locally on a picture archiving and communication system (Change Healthcare, Richmond, BC, Canada), mirrored in Boston, Massachusetts, USA. - CT data were obtained from a tertiary referral center, which may have caused referral bias that could enrich our sample with more ill and/or complex patients. | D1 A1 P1 R1 T1 O2 F2 S1 C1 |

REFERENCES

- Barthelemy E.J, Valtis Y.K, Cochran M.F, Martineau L, Park K, Mendel J.B, Warf B, Berkowitz A.L. Patterns of Hydrocephalus in Rural Haiti: A Computed Tomography -Based Study. World Neurosurg. 119. 2018. 257-261