# Software as a Medical Device (SaMD)

# The Top 5 Medical Office Software Systems?

- Electronic Health Record (EHR) Software. Client record keeping is important for any business, but for medical offices, it's an absolute necessity. ...

- Medical Billing and Collections Software. ...

- Patient Scheduling Software. ...

- Practice Management Software. ...

- Clinical Documentation Software

Diagnostic SaMD: These SaMD typically differentiate patients or their physiological 527 conditions and are intended to drive clinical management and / or diagnose. Such SaMD 528 are typically intended to identify early signs, triage, predict risk, screen, detect or 529 diagnose a healthcare situation or condition.

Non-diagnostic SaMD: These SaMD have generic functionality that can be used across 531 various health care situations or conditions. Such SaMD typically provide data to help aid 532 in diagnosis, aid in treatment, inform of options. Examples of such SaMD include 533 calculators (radiation treatment planning SaMD), search and match, filter, user defined 534 rules based matching, processing a signal (e.g., spectral analysis of a sound signal), a 535 memory test that gives a score but no interpretation.

appraisal of the evidence generated from clinical evaluation should address the 800 relevance and quality of all SaMD aspects including the following: 801  SaMD definition statement; 802  Risk assessment and associated documentation; 803  Labelling including claims, warning, limitations, contraindications, etc.; 804  SaMD requirements in the QMS system; and 805  Verification and validation.

SaMD in Category I

For all SaMD in this category: 885 • Analytical validity evidence (generated through 886 verification and validation QMS activity) based on and 887 in conjunction with scientific validity information is 888 sufficient to demonstrate the clinical evaluation evidence 889 of the SaMD. 890 • For Novel SaMD in this category: 891 • Manufacturers are expected to collect real world performance data to generate 892 scientific validity evidence in addition to analytical validity evidence (generated 893 through verification and validation QMS activity). 894

SaMD in Category II 895 • For all SaMD except for category II.ii:, 896 • Analytical validity evidence (generated through 897 verification and validation QMS activity) based on and 898 in conjunction with scientific validity information is 899 sufficient to demonstrate the clinical evaluation 900 evidence of the SaMD. 901 • For Diagnostic

SaMD in II.iii: 902 • Clinical performance evidence is expected in addition to analytical validity and 903 scientific validity evidence. 904 • For Novel SaMD in this category: 905 • Manufacturers are expected to collect real world performance data to generate 906 scientific validity evidence in addition to analytical validity evidence (generated 907 through verification and validation QMS activity). 908

SaMD in Categories II.ii, III and IV: 909 • For all SaMD in these categories (well-known or novel): 910 • Analytical validity evidence (generated through 911 verification and validation QMS activity) based on and 912 in conjunction with scientific validity information is 913 sufficient to demonstrate the clinical evaluation evidence 914 of the SaMD. 915 • In circumstances where the scientific validity is novel, 916 manufacturers should generate appropriate association of the SaMD output to the 917 clinical condition/physiological state using approaches described in scientific validity 918 as described in Section 6.3. 919 • For Diagnostic SaMD in these categories: 920 • Clinical performance evidence is expected in addition to analytical validity and 921 scientific validity evidence.