- HIPAA – HEALTH INSURACE PORTABILITY AND ACCOUNTABILITY ACT

HIPAA is an information security standard aimed to protect patient data healthcare organizations are entrusted with. It is closely regulated by the Office for Civil Rights (OCR).

There are five sections to the act, known as titles.

Title I: Health Care Access, Portability, and Renewability

Title II: Preventing Health Care Fraud and Abuse; Administrative Simplification; Medical Liability Reform

### Title III: Tax-related health provisions governing medical savings accounts.

### Title IV: Application and enforcement of group health insurance requirement.

### Title V: Revenue offset governing tax deductions for employers.

- Market addressed- The US Department of Health and Human Services (HHS) issued the HIPAA Privacy Rule to implement the requirements of HIPAA.

- Specific requirements for standards - To comply with HIPAA, general security best practices come into play. This includes adhering to and implementing required technical, administrative, and physical safeguards.

- Some eHealth and mHealth apps are subject to HIPAA and medical software regulations issued by the FDA.

- Ex: A doctor asks a patient to wear a portable data collecting device, and the data is later to be shared with the doctor, HIPAA applies.

- 7 Top Patient Apps in eHealth

- WebMD Pain Coach....

- Glucose Buddy.

- uChek.

- Clinical Trial Seek.

- Healthy Heart 2.

- Kardia Mobile (EKG)

- CDC.

- Top mHealth apps on the market

- Fitbit.

- Apple Heart Study.

- GoogleFit

- Samsung Health.

- BlueStar.

- m-health devices monitor vital signs, transmit patient records to doctors and allow remote examinations on mobile phones, tablets, and other portable medical devices.

- These devices often carry personal records such as patient names, phone numbers, addresses, insurance information, Social Security numbers and health information.

- HIPAA Privacy Rule

- The Privacy rule is focused on protecting the rights of an individual and their ability to control and access their own PHI.

- It also outlines how medical organizations can use the data for necessary functions such as treatment, operations, and payment.

- Aside from those uses, the PHI must remain confidential.

- The Privacy Rule assures that all PHI will be protected from unauthorized disclosure and covers the physical security and confidentiality of PHI in all formats including electronic, paper, and even oral.

- NIST Framework for Improving Critical Infrastructure Cybersecurity (NIST.CSWP.04162018)

The Framework is a risk-based approach to managing cybersecurity risk and is composed of three parts: The Framework Core, the Framework Implementation Tiers, and the Framework Profiles. Each Framework component reinforces the connection between business/mission drivers and cybersecurity activities.

- Market addressed- United States depends on the reliable functioning of critical infrastructure.

- NIST Risk Management Framework (RMF): The Risk Management Framework (RMF) is a set of criteria that dictate how United States government IT systems must be architected, secured, and monitored.

Original Objectives of the NIST RMF

  - Categorize the information system and the information processed Select security controls.

  - Select an initial set of baseline security controls.

  - Implement the security controls.

  - Assess the security controls.

  - Authorize the information system operation based on residual risk.

  - Monitor the security controls effectiveness.

- Market addressed- United States federal government policy and standards to help secure information systems (computers and networks) developed by National Institute of Standards and Technology

- Specific requirements for standards-  Committee on National Security Systems for specific national security systems/operational environments, such as: space platform, privacy , Federal Risk and Authorization Management Program (FedRAMP) provides a standardized approach to security assessment, authorization, and continuous monitoring for cloud products and services.

- NIST Security and Privacy Controls for Federal Information Systems and Organizations (SP 800-53 Revision 4)

The objective of NIST SP 800-53 is to provide a set of security controls that can satisfy the breadth and depth of security requirements levied on information systems and organizations and that is consistent with and complementary to other established information security standards.

SP 800-53 Revision 4 provides the security control baselines as the starting point for the security control selection process.

- Market addressed- U.S. Department of Defense, the Intelligence Community, the Committee on National Security Systems, the Department of Homeland Security, and U.S. federal civil agencies.

- Specific requirements for standards- ISO/IEC provides functionality and assurance requirements for developers of information systems and information system components.

The most significant changes to SP 800-53, Revision 5 include:

- Consolidating the control catalog: Information security and privacy controls are now integrated into a seamless, consolidated control catalog for information systems and organizations.

- Integrating supply chain risk management: Rev. 5 establishes a new supply chain risk management (SCRM) control family and integrates SCRM aspects throughout the catalog.

- Adding new state-of-the-practice controls: These are based on the latest threat intelligence and cyber-attack data (e.g., controls to support cyber resiliency, secure systems design, security and privacy governance, and accountability).

- Making controls outcome-based: Rev. 5 accomplishes this by removing the entity responsible for satisfying the control (i.e., information system, organization) from the control statement.

- Improving descriptions of content relationships: Rev. 5 clarifies the relationship between requirements and controls as well as the relationship between security and privacy controls.

- Separating the control selection processes from the controls: This allows the controls to be used by different communities of interest, including systems engineers, security architects, software developers, enterprise architects, systems security and privacy engineers, and mission or business owners.

- Transferring control baselines and tailoring guidance to NIST SP 800-53B: This content has moved to the new (draft) Control Baselines for Information Systems and Organizations.

- Association for the Advancement of Medical Instrumentation (AAMI) Technical Information Report (TIR57)

This technical information report (TIR) was developed by the Device Security Working Group.

The objective of this TIR is to provide guidance on how medical device manufacturers can manage risks from security threats that could impact the confidentiality, integrity, and/or availability of the device or the information processed by the device.

Because medical device manufacturers are already familiar with ANSI/AAMI/ISO 14971:2007, this guidance follows the basic structure of that standard.

- This TIR provides guidance for addressing information security within the risk management framework defined by ANSI/AAMI/ISO 14971.

- This guidance is intended to assist manufacturers and other users of the standard in the following:  identifying threats, vulnerabilities, and assets associated with medical devices, estimating and evaluating associated security risks  controlling security risks and  monitoring effectiveness of the risk controls.

- Market addressed- European Committee for Standardization

- IEC Application of risk management for IT-networks incorporating medical devices (ISO 80001-2)

  - IEC/TR 80001-2-2:2012(E), which is a technical report, creates a framework for the disclosure of security-related capabilities and risks necessary for managing the risk in connecting medical devices to IT-networks and for the security dialog that surrounds the IEC 80001-1 risk management of IT-network connection.

  - IEC 80001-1 defines the roles, responsibilities and activities that are necessary for risk management of IT-networks incorporating medical devices to address safety, effectiveness and data and system security.

  - ISO/TR 80001-2-6:2014 provides guidance on implementing responsibility agreements.

This technical report is a step-by-step guide to help in the application of risk management when creating or changing a medical IT-network. It provides easy to apply steps, examples, and information helping in the identification and control of risks.

- NIST Cybersecurity practice guide (NIST.SP.1800-8)

- NIST Special Publication (SP) 1800 series documents present practical, usable, cybersecurity solutions to the cybersecurity community.

- NIST Cybersecurity Practice Guides (Special Publication Series 1800) target specific cybersecurity challenges in the public and private sectors.

- They are practical, user-friendly guides that facilitate the adoption of standards-based approaches to cybersecurity.

- Medical devices, such as infusion pumps, were once standalone instruments that interacted only with the patient or medical provider.

- However, today’s medical devices connect to a variety of health care systems, networks, and other tools within a healthcare delivery organization (HDO).

- FDA pre-market & post-market cybersecurity guidelines (ucm356190 / ucm482022)

- This guidance has been developed by the FDA to assist industry by identifying issues related to cybersecurity that manufacturers should consider in the design and development of their medical devices as well as in preparing premarket submissions for those devices.

- The FDA's primary focus is enforcement of the Federal Food, Drug, and Cosmetic Act (FD&C), but the agency also enforces other laws, notably Section 361 of the Public Health Service Act, as well as associated regulations.

- The United States Food and Drug Administration (FDA or USFDA) is a federal agency of the Department of Health and Human Services.

- The FDA is responsible for protecting and promoting public health through the control and supervision of food safety, dietary supplements, prescription and many more.

- Post Market Considerations : It is essential that manufacturers implement comprehensive cybersecurity risk management programs and documentation consistent with the Quality System Regulation (21 CFR part 820), including but not limited to complaint handling (21 CFR 820.198), quality audit (21 CFR 820.22), corrective and preventive action (21 CFR 820.100), software validation and risk analysis (21 CFR 820.30(g)) and servicing (21 CFR 820.200).

Software as a Medical Device rangesExternal Link Disclaimer from software that allows a smartphone to view images obtained from a magnetic resonance imaging (MRI) medical device for diagnostic purposes to Computer-Aided Detection (CAD) software that performs image post-processing to help detect breast cancer.

Other examples include:

- Software as a Medical Device may be interfaced with other medical devices, including hardware medical devices, and other software as a medical device software, as well as general purpose software. Software that provides parameters that become the input for a different hardware medical device or other Software as a Medical Device. For example, treatment planning software that supplies information used in a linear accelerator is Software as a Medical Device.

- Software with a medical purpose that operates on a general purpose computing platform, i.e., a computing platform that does not have a medical purpose, is considered Software as a Medical Device. For example, software that is intended for diagnosis of a condition using the tri-axial accelerometer that operates on the embedded processor on a consumer digital camera is considered Software as a Medical Device.

- Software that is connected to a hardware medical device but is not needed by that hardware medical device to achieve its intended medical purpose is Software as a Medical Device and not an accessory to the hardware medical device.

- Software as a Medical Device is capable of running on general purpose (nonmedical purpose) computing platforms. Software as a medical device running on these general purpose computing platforms could be located in a hardware medical device.

### What are examples of software that are not Software as a Medical Device?

If the software is part of a hardware medical device, it does not meet the definition of Software as a Medical Device. Examples include:

- Software used to "drive or control" the motors and the pumping of medication in an infusion pump; or software used in closed loop control in an implantable pacemaker or other types of hardware medical devices. These types of software, sometimes referred to as "embedded software", "firmware", or "micro-code" are not Software as a Medical Device.

- Software required by a hardware medical device to perform the hardware's medical device intended use, even if sold separately from the hardware medical device.

- Software that relies on data from a medical device, but does not have a medical purpose, e.g., software that encrypts data for transmission from a medical device.

- Software that enables clinical communication and workflow including patient registration, scheduling visits, voice calling, and video calling.

- Software that monitors performance or proper functioning of a device for the purpose of servicing the device, (e.g., software that monitors x-ray tube performance to anticipate the need for replacement), or software that integrates and analyzes laboratory quality control data to identify increased random errors or trends in calibration on IVDs.

- Software that provides parameters that become the input for software as a medical device is not software as a medical device if it does not have a medical purpose. For example, a database including search and query functions by itself or when used by Software as a Medical Device.