EUMDR - European Medical Device Regulation

- The European Medical Device Regulation (MDR) is a new set of regulations that governs the production and distribution of medical devices in Europe, and compliance with the regulation is mandatory for medical device companies that want to sell their products in the European marketplace.

- It ensures high standards of quality and safety for medical devices being produced in or supplied into Europe.

- The European regulatory framework ensures the safety and efficacy of medical devices and facilitates patients’ access to devices in the European market.

- To keep up with advances in science and technology, 2 new Regulations are replacing the 3 existing Directives in the coming years (until 2022).

Medical devices within the EU are currently regulated by 3 Directives:

- Council Directive 90/385/EEC on Active Implantable Medical Devices (AIMDD) (1990)

- Council Directive 93/42/EEC on Medical Devices (MDD) (1993)

- Directive 98/79/EC of the European Parliament and of the Council on in vitro Diagnostic Medical Devices (IVDMD)

- On 5 April 2017, 2 new Regulations on medical devices and in vitro diagnostic medical devices establishing a modernised and more robust EU legislative framework to ensure better protection of public health and patient safety were adopted.

- Regulation (EU) 2017/745 of the European Parliament and of the Council of 5 April 2017 on medical devices, amending Directive 2001/83/EC, Regulation (EC) No 178/2002 and Regulation (EC) No 1223/2009 and repealing Council Directives 90/385/EEC and 93/42/EEC

- Regulation (EU) 2017/746 of the European Parliament and of the Council of 5 April 2017 on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU

- MDR - Medical Device Reporting (MDR) is one of the post market surveillance tools the FDA uses to monitor device performance, detect potential device-related safety issues, and contribute to benefit-risk assessments of these product.

- MEDDEV stands for MEDical DEVices Documents - The MEDDEV Guidance Documents are developed by various working groups on behalf of the European Commission to assist stakeholders in implementing directives related to medical devices.

- Advantages :

- The reinforcement of the rules on clinical data and clinical studies on devices.

- Manufacturers to collect data about the real-life use of their devices.

- Improved coordination between EU Member States.

- Device traceability through the supply chain from its manufacturer through to the final user.

FDA pre-market & post-market cyber security guidelines

- This guidance represents the current thinking of the Food and Drug Administration.

- It does not establish any rights for any person and is not binding on FDA or the public.

- We can use an alternative approach if it satisfies the requirements of the applicable statutes and regulations.

- This guidance clarifies FDA’s post market recommendations and emphasizes that manufacturers should monitor, identify, and address cyber security vulnerabilities and exploits as part of their post market management of medical devices.

Definitions

For the purposes of this guidance, the following definitions are used:

- Compensating Controls: A cyber security compensating control is a safeguard or countermeasure deployed in replacement or in the absence of controls designed by a device manufacturer.

These controls are external to the device design, configurable in the field, employed by a user, and provide supplementary or comparable cyber protection for a medical device.

- Controlled Risk:  Controlled risk is present when there is sufficiently low risk of patient harm due to a device’s particular cyber security vulnerability.

- Cyber security Routine Updates and Patches: Cyber security “routine updates and patches” are changes to a device to increase device security and to restore only those vulnerabilities associated with controlled risk of patient harm.

- Cyber security Signal: A cyber security signal is any information which indicates the potential for, or confirmation of, a cyber-security vulnerability or exploit that affects, or could affect a medical device.

A cyber security signal could originate from

- Traditional information sources such as internal investigations, post market surveillance

-  Security-centric sources such as CERTS (Computer/Cyber, Emergency Response/Readiness Teams), such as ICS-CERT 10 13, ISAOs14, threat indicators, and security researchers.

- Critical infrastructure sector (e.g., defense, financial) but have the potential to impact medical device cyber security.

- Exploit: An exploit is an instance where a vulnerability/vulnerabilities have been exercised (accidently or intentionally) by a threat and could impact the safety or essential performance of a medical device.

- Patient Harm: Patient harm is defined as physical injury or damage to the health of patients, including death.

- Remediation: Remediation is any action(s) taken to reduce an uncontrolled risk of patient harm posed by a device cyber security vulnerability to an acceptable level.

Remediation actions may include complete solutions to remove a cyber-security vulnerability from a medical device or compensating controls that adequately mitigate the risk.

- Threat:  Threat is any circumstance or event with the potential to adversely impact the device, organizational operations, organizational assets, individuals, or other organizations through an information system via unauthorized access, destruction, disclosure, modification of information, and/or denial of service.

- Threat Modelling: Threat modelling is a methodology for optimizing Network/Application/Internet Security by identifying objectives and vulnerabilities, and then defining countermeasures to prevent, mitigate the effects of, threats to the system.

- Uncontrolled Risk: Uncontrolled risk is present when there is unacceptable residual risk of patient harm due to inadequate compensating controls and risk mitigations.

- Vulnerability: A vulnerability is a weakness in an information system, system security procedures, internal controls, human behaviour, or implementation that could be exploited by a threat.

HIPAA - Health Insurance Portability and Accountability Act

- The Health Insurance Portability and Accountability Act of 1996 (HIPAA) is a federal law that required the creation of national standards to protect sensitive patient health information from being disclosed without the patient's consent or knowledge.

- The HIPAA legislation had four primary objectives:

- Assure health insurance portability by eliminating job-lock due to pre-existing medical conditions.

- Reduce healthcare fraud and abuse.

- Enforce standards for health information.

- Guarantee security and privacy of health information

- HHS initiated 5 rules to enforce Administrative Simplification:

- Privacy Rule

- Transactions and Code Sets Rule

- Security Rule

- Unique Identifiers Rule

- Enforcement Rule. Privacy rule

- Few of the HIPAA violations

  - Hacking

  - Loss or Theft of devices

  - Gossiping/ Sharing of PHI

  - Lack of Employee Training

  - Disclosure to Third-party

  - Unauthorized Release of Information